## Sheet1
4-20` | Modbus | HART | 3D | SmartBob | NCR | CNCR | Probe | Rotary | DPM | WIRES
YES | YES | YES |  | BEST | YES | YES |  |  | YES | 398-0090 – Allen-Bradley blue hose RS-485 data cable, 20 AWG shielded twin axial, twisted pair, low capacitance, Belden 9463
YES | YES | YES | BEST | YES | YES | YES |  |  | YES | 398-0543 – RS-485 communication cable, shielded twin axial, twisted pair, low capacitance, Belden 3105A
| YES |  |  |  | YES | YES |  |  | YES | 398-0585- 4/18 AWG Yellow PVC, bulk cable, coil with yellow polyvinyl chloride outer jacket, wire complement: altogether 4x18 AWG Wires
| YES |  |  |  | YES | YES |  |  | YES | 398-0599 – DNet Cable
[7 empty] | BEST |  |  | 398-0077 – Triax cable, Teflon 75 Ohm, used with PRO Remote up to 500 degrees
[7 empty] | BEST |  |  | 398-0093 – Triax cable, polyethylene 75 Ohm used with PRO Remote up to 250 degrees
[8 empty] | YES |  | Hookup Wire - We don't sell